| Title (Mr/Mrs/Miss/Dr): | Surname: |
| --- | --- |
| Position: | Forename(s): |
| Dept. & Ward: | Email or ext.: |
| Please state your current ID NOW username: ……………………….. |

All staff must maintain competence to continue using the ID Now.

Trainers must ensure that the ID Now operator is trained and competent, understands the clinical context of rapid testing, how to interpret and/or action results, and how to escalate any concerns with the platform.

SOP’s, policies and documents to support maintaining competence are available on the POCT intranet page. https://www.ruh.nhs.uk/pathology/poct/sops.asp?menu_id=3

Both the trainer and trainee must sign and date this document.

Please send a copy of this record to the POCT team when completed.

Learning Objectives:

- Know the locations of the ID Now analysers and accompanying equipment.

- Be able to collect and analyse a swab sample for ID Now testing.

- Understand the PPE required and any health and safety measures in place.

- Be able to maintain and perform quality checks on the ID now analysers.

- Understand the results and how to record them.

- Know the clinical pathway and selection of patients who receive this POCT test.

Competency is attained when the trainee has the ability to perform the test/procedure unsupervised, to a set standard, on more than one occasion, in a consistent manner, together with a working comprehension of the principles and concepts of the content of the key task.

Competency criteria - include answers to the following competency questions and direct observation of the performance of the procedure.

##### Criterion Evaluation - the criteria must be approved by an appropriate Link Trainer.

| Questions | Answers and Observations (where required) |
| --- | --- |
| 1. What is the minimum, appropriate, Personal Protective Equipment (PPE) worn for this task? |  |
| 2. How do you collect a patient swab to run on the ID Now analysers? |  |
| 3. What should you do with the swab once the sample is collected? |  |
| 4. What items of patient information must you enter on the ID Now when running a patient test? |  |
| 5. Why is it important to avoid creating bubbles / foam when mixing the sample in the receiver? |  |
| 6. When do you run the positive and negative Quality Control (QC) tests? |  |
| 6. Practical: Log into an ID Now analyser and run a Negative QC sample. When complete, stick the printed result in the space opposite. If your access code has expired, ask your trainer to log in for you. | Stick result label here |
| 7. How are the test components discarded once a test has completed? |  |
| 8. When should you clean the work area and instrument? |  |

Statement: I have completed the Criterion Evaluation and consider myself to be confident and competent in the assigned task.

Name (PRINT): ……………………………………..

Signature: ……………………………………………		Date: ………………………..

Statement: I recognise the legal responsibilities of the tests that I undertake and that I will not share my personal log in details.

Signature: ……………………………………………		Date: ………………………..

To be completed by the link trainer or observer.

I have assessed the above named person and consider them competent in the assigned task.

Assessors Name (PRINT): ………………………………….

Assessors Signature: …………..……………………………	Date: …………………

Both the trainer and trainee must sign and date this document.

Please send a copy of this record to the POCT team when completed.