| Title (Mr/Mrs/Miss/Dr etc.): | Position: |  |
| --- | --- | --- |
| Surname: | Forename(s): |  |
| Dept & Ward |  | Extension No: |

## Competency

## Attained when the trainee has the ability to perform the test/procedure unsupervised to a set standard on more than one occasion in a consistent manner, together with a working comprehension of the principles and concepts of the content of the key task.

## Task:

## POCT equipment training for URYXXON analysers and Medi-Test Combi 8 dipsticks

Learning objectives:

- Locate Urinalysis folder with SOP, iQC & maintenance log, risk assessment

- Analyse the iQC and record the results

- Obtain the correct sample, label correctly, handle correctly

- Analyse a patient sample and record the results correctly

- Perform external quality assurance and return results to lab

- Clean the reader ready for the next sample strip

Direct Observation

The trainee must be observed doing the task and deemed competent to perform the task correctly and safely by the assessor.

| Task | POCT equipment training for URYXXON analysers and Medi-Test Combi 8 dipsticks |  |
| --- | --- | --- |
| Direct Observation Assessment Evaluation Understand and perform Urine analysis on Analysers Understand and report QC Able to carry out maintenance |  | Objective evidence Record results from sample processed during training (as you would in the patient notes) |
| Appraisee Signature: Date: |  |  |
| Assessor Signature: Date: |  |  |

##### Criterion Evaluation

##### The following questions provide evidence of a working understanding of the test and the principles of the method.

| Questions | Answers | Assessor approval |
| --- | --- | --- |
| 1. What is the correct type of sample for urine dipstick analysis? |  |  |
| 2. What information must be entered for the patient I.D.? |  |  |
| 2. Where are the internal Quality Control (iQC) samples stored? |  |  |
| 3. Briefly describe when and how the iQC samples are run and recorded. |  |  |
| 4. How often is External Quality Assurance (EQA) performed? What must be entered as the I.D.? |  |  |
| 5. Briefly describe the maintenance procedure, where it is recorded and how often it should be done. |  |  |
| 6. Where will you find information about interferences, troubleshooting and sending a sample to the lab? |  |  |

The following SOP’s are covered by this competence:

SOP/POCT/60

I can confirm that I have read these current SOP’s and understand the implications of the SOP’s

Appraisee Signature: ……………………………………………	Date:……………………

Assessor Signature: ……………………………………………	Date:……………………

Keep this form in your portfolio when complete. Your line manager will require a copy.

| Title (Mr/Mrs/Miss/Dr etc.): | Email: |  |
| --- | --- | --- |
| Surname: | Forename(s): |  |
| Dept. & Ward: | Position: | Ext. No.: |

For users of connected meters only:

In future, a username and password will be required to access the urinalysis meter.

This is necessary for governance purposes, and is part of the on-going work towards enabling the future transmission of urinalysis results into the electronic patient record.

USERNAME:

- If you have an ID Now username, this will also be your urinalysis username.

- Otherwise, please state a username consisting of letters only (minimum of 6 letters).

- Username:  ___ ___ ___ ___ ___ ___         is this an existing ID Now login?  Yes / No

(If your existing ID Now username is not six letters do not worry, it will not need to change)

PASSWORD / PASSCODE:

- If you already have a barcode for use with the glucose meters (and/or for blood collection), this can become your password for urinalysis.

- If you do not have a barcode, or would prefer to use a password of your own, you can state your own password consisting of six numbers or more below.

- I will use my existing Barcode number: 	___ ___ ___ ___ ___ ___ ___

OR

- I would like to use my own Password:	___ ___ ___ ___ ___ ___    (six numbers)

Lab. Use only:

| Check username in Poccelerator. |  |
| --- | --- |
| Set-up new users as required. (If a new username is a duplicate change it and inform user). |  |
| Add urinalysis meter to user: Click on - model authorisation – new data record – uryxxon relax – enter expiry date 2 years from training – enter password – select ‘user’ from list - then ‘Accept’. |  |
| Check ‘Assignments’ tab – if list of locations is incomplete: Click on – authorisation for ward – select ‘Royal Bath’ – click on ‘assign’ – Save changes. |  |