**Glucose Meters**



*Your FPP meter is enabled for both glucose and ketone testing, you will see prompts for both glucose and ketone QCs.*

***To run glucose QC only:***

* ***Select 2 – Control Test***
* ***Follow prompts for required test***
* ***Screen may display “Unexpected strip Ketone expected Glucose entered”***
* ***Select 2 – Continue You can continue with glucose QC***
* ***When Lo and Hi QC levels have been analysed it will still show “Ketone QC due”***
* ***Select 1 – Patient Test to proceed with patient sample****.*

**If there are no patient ketone tests to do, then the ketone QCs do not need to be run.**

POCT Coordinator Tel: 07500050655

ruh-tr.biochempoc@.nhs.net

***With compliments***

POCT Pathology Department

POCT Pathology Department

POCT Coordinator Tel: 07500050655

ruh-tr.biochempoc@.nhs.net