## POCT ID Now User Training, Competency and Assessment Booklet

| Title (Mr/Mrs/Miss/Dr): | Surname: |
| --- | --- |
| Position: | Forename(s): |
| Dept. & Ward: | Email or ext.: |
| Please state your chosen user ID: ……………………….. (Letters only : 6 minimum) |  |

All staff must complete training, and be deemed competent, prior to undertaking an ID Now test. A personalised log-in code will be issued to each user to allow access to the Abbott ID Now analyser. This log in code must not be shared as it is required for traceability of results.

Trainers must ensure that the ID Now operator is trained and competent in each of the below steps, understands the clinical context in which a rapid test should be utilised, how to interpret or action results, and how to escalate any concerns with the platform.

This booklet must be signed and dated by both the trainer and trainee. Training records should be stored by the individual. The POCT team need to be given a copy of the training record which will be available for review if required.

The following SOP’s, policies and documents can support the trainee to complete this booklet and gain competence in this procedure, they can be found on the POCT intranet page https://www.ruh.nhs.uk/pathology/poct/sops.asp?menu_id=3 :

- Abbott ID Now SOP for Point of Care Testing (SOP/POCT/69/)

- Abbott ID Now instrument user manual

- Abbott ID Now analyser risk assessment

- Training videos ‘Running Quality Control’ & ‘Running a patient swab’

Learning Objectives:

- Know the locations of the ID Now analysers and accompanying equipment.

- To be able to collect and analyse a swab sample for ID Now testing.

- Understand the PPE required and any health and safety measures in place.

- Be able to maintain and perform quality checks on the ID now analysers.

- Understand the results and how they are recorded.

- Know the clinical pathway and selection of patients who receive this POCT test.

Competency – will be attained when the trainee has the ability to perform the test/procedure unsupervised to a set standard on more than one occasion in a consistent manner, together with a working comprehension of the principles and concepts of the content of the key task.

Competency criteria - include answers to the following competency questions and direct observation of the performance of the procedure.

##### Criterion Evaluation - the criteria must be approved by an appropriate Link Trainer.

| Questions | Answers and Observations (where required) |  |
| --- | --- | --- |
| 1. What is the minimum, appropriate, Personal Protective Equipment (PPE) to be worn for this task? |  |  |
| 2. How is a patient swab collected to run on the ID Now analysers? |  |  |
| 3. What should you do with the swab once the sample is collected? |  |  |
| 4. How would you label the sample? |  |  |
| 5. What 3 items of patient information must you enter on the ID Now when running a patient test? | 1. 2. 3. |  |
| 6. Demonstrate or describe how to log in and enter patient details into the ID Now analyser. | Description: | Observation: |
| 7. When should you remove the seal from the blue Sample Receiver? |  |  |
| 8. On the white transfer cartridge, what indicates when the sample has been correctly collected and dispensed to the test base? |  |  |
| 9. What will happen if any of the countdowns are exceeded? What must you then do? |  |  |
| 10. How do you know when the results are ready? What happens to the results? |  |  |
| 11. How are the test components discarded once a test has completed? |  |  |
| 12. Should you take the completed components apart? |  |  |
| 13. What must you do after every sample is run? |  |  |
| 14. How would you find the result for a patient you tested last week? |  |  |
| 15. How is the monthly External Quality Assurance (EQA) sample treated? What is entered as the sample ID? |  |  |
| 16. When are the Quality Control (QC) tests done? |  |  |
| 17. What is used for the positive QC? What is used for the negative QC? What information must you enter as the ID for the QC tests? | Positive QC = Negative QC = ID for QC = |  |
| 18. Where can you find the ID Now Standard Operating Procedure (SOP)? |  |  |
| 19. How should the ID NOW Test kits be stored? How would you request more test kits? |  |  |

| How was your training delivered? Face to face? or Intranet videos? | When was your training? Date……………………. |
| --- | --- |

Statement: I have completed the Criterion Evaluation and consider myself to be confident and competent in the assigned task.

Name (PRINT): ……………………………………..

Signature: ……………………………………………		Date: ………………………..

Statement: I recognise the legal responsibilities of the tests that I undertake and that I will not share my personal log in details.

Signature: ……………………………………………		Date: ………………………..

To be completed by the link trainer or observer.

I have assessed the above named person and consider them to be competent in the assigned task.

Assessors Name (PRINT): ………………………………….

Assessors Signature: …………..……………………………	Date: …………………