### Abbott i-stat Daily Electronic Simulator & Maintenance Log

## Simulator ID: _______________________       Analyser Serial Number: __________________________        Month: _________________________		Year: ______________

| Daily Electronic Simulator Log |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |
| Time |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pass / Fail |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Failure code or letter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Initials |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Maintenance Log |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Clean exterior and screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Check Printer Paper |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Initials |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Date (6 monthly) | Simulator Serial Number | Thermal Probe Delta Result (Acceptable Range: -0.1 ToC +0.1) | Comments | Operator |
| --- | --- | --- | --- | --- |

Abbott i-Stat Quality Control Log 						Analyser Serial number: ______________________________

- Quality Control (QC) must be performed each time a new box of cartridges is opened.

- * ‘QC passed’, date and signature must be written on the box after iQC has been performed and accepted.

| Control Box Start Date | Cartridge Lot Number (1st letter only) | CLEW revision | B-hCG Control Level | B-hCG Control Lot Number | Control Expiry Date | Mean B-hCG (IU/L) | 2 SD Range (IU/L) from VAS APOC website (see 4.1.3 in SOP) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | - |
|  |  |  |  |  |  |  | - |
|  |  |  |  |  |  |  | - |

QC lot number details

Stock Control & Acceptance Testing Record

| Cartridge Box Delivery Date | Cartridge Lot Number | Date QC Performed | Operator Signature | Control Level | Control Lot Number | B-hCG Control Result (IU/L) | iQC Acceptable? (Y/N) *record passed QC on box |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1 |  |  |  |
|  |  |  |  | 2 |  |  |  |
|  |  |  |  | 1 |  |  |  |
|  |  |  |  | 3 |  |  |  |
|  |  |  |  | 1 |  |  |  |
|  |  |  |  | 2 |  |  |  |
|  |  |  |  | 1 |  |  |  |
|  |  |  |  | 3 |  |  |  |
|  |  |  |  | 1 |  |  |  |
|  |  |  |  | 2 |  |  |  |