| Title (Mr/Mrs/Miss/Dr etc.): | Surname: |  |
| --- | --- | --- |
| Forename(s): |  |  |
| Position: |  |  |
| Dept & Ward |  | Email: |

## Task:	POCT B-HCG analysis using the Abbott i-STAT hand held meter

## Learning Objective:

## Locate SOP, Meter, Cartridges, QC, Electronic simulator, maintenance log

- Collect correct sample type

- Perform daily checks & QC checks

- Analyse patient sample

- Record results & report results (where required)

Competency - attained when the trainee has the ability to perform the test unsupervised to a set standard on more than one occasion in a consistent manner, together with a working comprehension of the principles and concepts of the content of the key task.

##### Answers – Must be assessed by a competent user and the procedures must be observed and initialled to fulfil the level of competency required to use the analyser.

| Questions | Answers | Observer initials |
| --- | --- | --- |
| 1. Why and when would HCG be performed on the i-STAT meter? |  |  |
| 2. When are samples sent for HCG at the laboratory? |  |  |
| 3. What technology is used by the i-STAT to produce a HCG result? |  |  |
| 4. What are the limitations of the test? |  |  |
| 5. How do you correctly: - Obtain a sample - Prepare the sample for analysis Which blood tube type should the sample be collected into? |  |  |
| 6. If the machine errors what would you do? How do you report any issues or concerns? |  |  |
| 7. Where is the maintenance / cleaning of the i-STAT recorded? |  |  |
| 8. Cartridges, where are they stored? Where are they disposed of when used? |  |  |
| 9. Briefly describe how to perform the test: including iQC checks, sample application, recording of results. |  |  |
| 10. Briefly describe how the different QC is run and when. Where is this recorded? |  |  |
| 11. What is external quality control? How often is it performed? How does the sampling of the EQA vary from patient samples? |  |  |
| 12. Describe the documentation procedure of patient’s results. What must be written along with the result? |  |  |
| 13. Understand and perform all applicable safety practices. |  |  |

## Objective Evidence

Perform either an iQC, electronic simulator test, EQA sample or patient sample and record results below:

Statement: I have completed the competency questions, objective evidence, read the SOP and consider myself to be confident and competent in the use of the i-STAT for HCG measurement.

Signature: ……………………………………………		Date:………………………..

Statement: I recognise the legal responsibilities of the tests that I undertake

Signature: ……………………………………………		Date:………………………..

To be completed by the Task Champion Assessor

I have assessed ........................................................... and consider them to be competent in the assigned task.

Signature: …………………………………………….		Date: ………………………..

The following SOP is covered by this competence:

SOP/POCT/63/1

| Your unique Barcode Operator ID |  |
| --- | --- |

Keep this form in your portfolio when complete. Your line manager will require a copy.