| Title (Mr/Mrs/Miss/Dr etc): | Position: |
| --- | --- |
| Surname: |  |
| Forename(s): |  |
| Dept & Ward | Extension No: |
| Chosen log in/barcode: |  |

## Task:	POCT HemoCue 201 DM training

## - Required for initial assessment or refresher (2 years)

Learning objectives to be delivered by the appropriate link trainer

- Understand how to correctly use the meter

- Appreciate the limitations of the meter

- To be able to perform the daily QC checks

- Awareness of and able to analyse the EQA monthly samples

- Know how to report the results.

Competency - attained when the trainee has the ability to perform the test/procedure unsupervised to a set standard on more than one occasion in a consistent manner, together with a working comprehension of the principles and concepts of the content of the key task.

Competency criteria include answers to documented competency questions and direct observation of performance of the task.

##### Criterion Evaluation - the criteria are approved by the appropriate Link Trainers.

Answer the following questions, the SOP can help guide you through the answers.

| Questions | Answers | Observed |
| --- | --- | --- |
| 1. Why would analysis be performed on the Hemocue 201 DM? When would a Hemocue Hb be performed rather than sending a FBC to the laboratory? |  |  |
| 2. What are 2 reasons to place the device on the docking station? | 1 2 |  |
| 3. How does the Hemocue 201 DM meter work (only enough knowledge is needed to perform a test)? What are its limitations? |  |  |
| 4. If the machine errors what do you do? How do you report any issues? |  |  |
| 5. How do you correctly start the machine? |  |  |
| 6. Which fingers should you avoid using for a capillary sample? |  |  |
| 7. Where are the microcuvettes stored? Where are they disposed of when used? Where are QC solutions stored? |  |  |
| 8. Where is the maintenance of the meter recorded? |  |  |
| 9. How is iQC performed? Where is iQC recorded? |  |  |
| 10. Why is it important not to have bubbles in the microcuvette? |  |  |
| 11. What is external quality control? How often is it performed? How does the sampling of the EQA vary from patient samples? |  |  |
| 12. Describe how to record a patient’s results? |  |  |

Now you have completed your questions and observations please read and sign below:

Statement: I have completed the Criterion Evaluation and consider myself to be confident and competent in the assigned task.

Signature: ……………………………………………		Date:………………………..

Statement: I recognise the legal responsibilities of the tests that I undertake

Signature: ……………………………………………		Date:………………………..

Once you are satisfied with the trainee’s ability to competently perform the task, please read and sign the following:

To be completed by the Task Champion Assessor

I have assessed ........................................................... and consider them to be competent in the assigned task.

Signature: …………………………………………….		Date: ………………………..

Keep this form in your portfolio when complete. Your line manager will require a copy.