Name of Trainee (CAPITALS): _______________________________________________________________

Department:  _     ____________________ Email address: ________________________________________

Barcode: ___________________________

Note: The trainee is expected to have completed the basic Competency Assessment form (FM/POCT/COMP/18) prior to the completion of this training. These additional skills should be signed off by a member of the POCT team or another experienced advanced user. Please refer to the SOP and user manual when answering the assessment questions.

| Question | Answer |
| --- | --- |
| When are the following required? - QC device chip - QC sample chip - Reagent chip |  |
| Where is the supervisor code chip module stored? |  |
| What are the two extra functions accessible with the supervisor chip code? |  |
| What are the 7 parameters that can be set using the supervisor chip code? |  |
| Who delivers the different training and who should sign off users? |  |
| How often should training be given and assessment be completed? |  |
| What should the supervisor do after user is competent? |  |

| Aspects of procedure observed | Observation Date/Initials |
| --- | --- |
| Can install Supervisor Chip code module into analyser. |  |
| Can navigate through the 2 extra functions |  |
| Able to change and set parameters as and when required (ie daylight saving hour) |  |
| Able to add new user |  |
| Able to delete patient record/result |  |
| Can locate, prepare and run the liquid iQC and record the results. |  |
| Can insert test device and QC device correctly |  |
| Understands the importance of performing the QC device check (daily) and EQA (monthly). |  |

On completion, this form must be returned to the POCT department electronically (scan and email to ruh-tr.biochempoc@nhs.net) or via internal post (send a copy of the form to POCT, Pathology Laboratory, B38).

Please retain the completed competency form in your own training records as it may be required in the future.

Trainee

I have completed the Criterion Evaluation and consider myself to be confident and competent in the assigned task. I also recognize the legal responsibilities of the tests that I undertake.

Signature: ……………………………………………		Date:………………………..

Trainer

I have assessed the trainee and consider them to be competent in the relevant procedures as described above. I also confirm that the trainee has completed the basic competency assessment prior to this training.

Signature: ……………………………………… Print name: ………….……………….............

Department: …………………………………… Date: ………………………………....………...