Competency Assessment for Quidel Triage MeterPro (PlGF)

Name of Trainee (CAPITALS): ______________________________________________________________________

Department:  _     ________________________ Email address: ___________________________________________

  I already have a barcode. Number = __ __ __ __ __ __ __

 I do not have a barcode. Please issue one.

This form refers to:   Initial assessment    2 yearly reassessment

Aim:  	To correctly perform PlGF analysis using the Quidel Triage MeterPro analyser.

Objectives:  	The trainee will be able to demonstrate how to:

- Safely prepare and analyse a patient sample as per SOP

- Record and recall previous results.

- Install a code chip.

- Run the QC device and record its results.

- Clean the analyser and replace the printer paper.

- Follow Health and Safety recommendations.

Update: 	Competence and training requirements to be reassessed at 2 yearly intervals. Due to the cost of the test cartridges, objective evidence is not essential on reassessment (see below).

| Assessment Questions |  |  |
| --- | --- | --- |
| - Where can the SOP for PlGF analysis be found? |  |  |
| - When is PlGF analysis recommended? |  |  |
| - What are the limitations of this test? |  |  |
| - What sample collection tube should be used? How is the sample prepared for analysis? |  |  |
| - Where are the test devices stored? How can further devices be obtained? |  |  |
| - At what temperature should the test device be prior to analysis? |  |  |
| - How are used test devices disposed of? |  |  |
| - How are patient results recorded? |  |  |
| - What action should be taken if the result falls outside the normal range? |  |  |
| - How should issues or concerns with the analyser be reported? |  |  |
| - How often should the QC device be run? Where should these results be recorded? |  |  |
| - What 2 code chips may be required prior to sample analysis? |  |  |
| Assessment Observations | Trainer signature |  |
| - Demonstrate how to correctly prepare a sample, analyse a sample and record the results. |  |  |
| - Demonstrate how to run the QC device and record its results. |  |  |
| - Demonstrate how to recall results, install a code chip and clean the analyser. |  |  |
| Objective Evidence (only essential for initial assessment) | Date | Time |
| Please provide details of the training sample supervised analysis: |  |  |

- Note: This competency assessment refers to the technical procedure only and it does not cover clinical decisions relating to the results produced.  It is the responsibility of the department to ensure that this member of staff knows how to act upon the results.

- On completion, this form must be returned to the POCT department electronically (scan and email to ruh-tr.biochempoc@nhs.net) or via internal post (send a copy of the form to POCT, Pathology Laboratory, B38).

- Please retain the completed competency form in your own training records as it may be required in the future.

Trainee

I confirm that I have had theoretical and practical training as detailed above and I consider myself to be competent to use this medical POCT device without further training.  I agree to comply with trust policies and procedures at all times.

Signed:	  ___________________________________________	Date:	_____________________________

** NEVER Share Your Barcode - This Is Against Trust Policy **

Trainer

I confirm that I have reviewed the evidence above and have witnessed the trainee demonstrate competency in the required procedures. The trainee is to the best of my knowledge competent to use this medical POCT device without further training.

Signed:	  ___________________________________________	Print name: _____________________________

Department:     _____________________________________      Date: __________________________________