Competency Assessment for Radiometer ABL90 Blood Gas Analyser

Name of Trainee (CAPITALS): ______________________________________________________________________

Department:  _     ________________________ Email address: ___________________________________________

I already have a barcode. Number = __ __ __ __ __ __ __

I do not have a barcode. Please issue one.

Aim:  	To correctly perform blood gas analysis using the Radiometer ABL90 Flex Plus blood gas analyser.

Objectives:  	The trainee will be able to demonstrate:

- How to prepare and analyse a blood gas sample (including entering the patient details) and how to record the test results

- How to change the paper roll

Update: 	Competence and training requirements to be reassessed at 2 yearly intervals.

| Assessment Questions |  |  |
| --- | --- | --- |
| - Where can further information be found on the use of the blood gas analyser including the SOP? |  |  |
| - What 2 things should happen to the sample before analysis? |  |  |
| - List the mandatory patient details to be entered into the analyser? |  |  |
| - Where is the sample disposed of after analysis? |  |  |
| - How are the results produced and how are these recorded? |  |  |
| - What should the analyser be cleaned with? |  |  |
| - When should the analyser be cleaned? |  |  |
| - If a parameter is red what does this mean? |  |  |
| - What should you do if there is an error on the screen? |  |  |
| - If required, where else can you find an alternative blood gas analyser to run a patient sample? |  |  |
| Assessment Observations | Trainer signature |  |
| - Demonstrate how to correctly prepare a sample, analyse a sample and record/locate the results. |  |  |
| - Demonstrate how to change the paper roll. |  |  |
| Objective Evidence | Date | Time |
| Please provide details of the training sample supervised analysis: |  |  |

Trainee

I confirm that I have had theoretical and practical training as detailed above and I consider myself to be competent to use this medical POCT device without further training.  I agree to comply with trust policies and procedures at all times.

Signed:	  ___________________________________________	Date:	_____________________________

** NEVER Share Your Barcode - This Is Against Trust Policy **

Please note that this competency is for the technical procedure only, it does not cover clinical decisions relating to the results produced.  It is the responsibility of the ward/unit to ensure that this worker knows how to act upon these results.

On completion, this form must be returned to the POCT department electronically (scan and email to ruh-tr.biochempoc@nhs.net) or via internal post (send a copy of the form to POCT, Pathology Laboratory, B38).

Please retain the completed competency form in your own training records as it may be required in the future.

Trainer

I confirm that I have reviewed the evidence above and have witnessed the trainee demonstrate competency in the required procedures. The trainee is to the best of my knowledge competent to use this medical POCT device without further training.

Signed:	  ___________________________________________	Print name: _____________________________

Department:     _____________________________________      Date: __________________________________