## ABL90 Flex Plus Key Operator Training, Competency and Assessment Booklet

| Title (Mr/Mrs/Miss/Dr): | Surname: |
| --- | --- |
| Dept. & Ward: | Forename(s): |
| Barcode number: | Email: |

The user must have completed the operator competency before or as well as this competency to gain access to the analysers. Once complete the user will be given access via their barcode (one will be issued if needed).

This log in barcode must not be shared as it is required for traceability of results.

This booklet must be signed and dated by both the trainer and trainee. Training records should be stored by the individual. The POCT team need to be given a copy of the training record which will be available for review if required.

The following SOP’s, policies and documents can support the trainee to complete this booklet and gain competence in this procedure, these can be found on the POCT intranet page https://www.ruh.nhs.uk/pathology/poct/sops.asp?menu_id=3

- SOP for ABL90 Flex Plus blood gas analyser  (SOP/POCT/62)

- ABL90 Flex Plus IFU user manual

- ABL90 Flex Plus risk assessment

- Troubleshooting guide

- ABL90 Flex Plus quick user guide

- ABL90 Flex Plus eLearning videos

Learning Objectives:

- To be able to change solution packs and sensor cassettes

- To be able to perform maintenance (cleaning inlet) and replace/clean gasket.

- To be able to follow on screen guidance for trouble shooting errors

- Know how to flush the analyser as part of troubleshooting

- Understand when reagents need to be replaced for troubleshooting and how to print a credit form

- To train other staff as operators and key operators and understand what needs to be done with forms to enable access to be given.

Competency – This will be attained when the trainee has demonstrated the ability to perform the test/procedure confidently and correctly, together with a working comprehension of the principles and concepts of the content of the key task.

Competency criteria - Include answers to the following competency questions and direct observation of the performance of the procedure.

##### Criterion Evaluation - The criteria must be approved by an appropriate link trainer or key operator.

Training Checklist:

- Analyser components. Inlet, Sensor Cassette, Solution Pack.

- Cleaning the analyser. What with and When.

- Cleaning the Inlet Gasket. How and When. Demo.

- Troubleshooting failed parameters. Calibration & Quality control.

- Replacing a Solution Pack. How and When. Activation. Demo.

- Replacing a sensor cassette. How and When. Demo.

- Performing a manual flush. How and When. Demo.

- Printing a credit note. How and When. Demo.

- Replacing a probe and/or gasket. How and When. Demo.

- Training documents. Location and use.

- Standard Operating Procedure and other supporting documents.

- Looking up previous results.

- Analyser breakdown:

Contact POCT – Tel. 07500050655 or EXT 6044 (Mon – Fri 9 - 5.15)

Contact Radiometer – Tel 01293 517599 (24hrs 7 days a week)

Take your sample to the next nearest analyser.

- Health + Safety: Clean all spillages – DO NOT leave blood on the analyser or surrounding surfaces.

| Questions | Answers and Observations (where required) |  |
| --- | --- | --- |
| 1. What do you use to clean: 1. surfaces 2. Inlet (page 20 SOP) | 1. 2. |  |
| 2. How do you look up a previous result on the analyser? (Page 16 ABL90 Manual) |  |  |
| 3. Where are the consumables stored? | Solution pack: Sensor Cassette: Paper: Gasket: Probe: |  |
| 4. What are the 2 most likely causes for a red parameter? (Pages 92 ABL90 manual) | 1. 2. |  |
| 5. When would you replace a consumable? (SOP page 20) | 1. 2. 3. |  |
| 6. Once a solution pack is removed from its box what 2 things must be done to the pack before it can go on the analyser? (SOP page 20) | 1. 2. |  |
| 7. Describe or demonstrate how a manual flush is performed? (SOP page 27) |  | Observed by: Signature …………………… |
| 8. When and how do you print a credit note? (page 28 & appendix 1 SOP) | When? How? |  |
| 9. Describe or demonstrate replacing a probe or gasket and when you do this? (page 22 & 23 SOP) |  | Observed by: Signature …………………… |
| 10. Which document should be used for training a user? (page 23 SOP) |  |  |
| 11. What happens to this document once training is complete and signed? (page 23 SOP) |  |  |

** NEVER Share Your Password - This Is Against Trust Policy **

Statement: I have completed the Training, Competency and Assessment Booklet and consider myself to be confident and competent in the assigned task. I recognise the legal responsibilities of the tests that I undertake and that I will NOT share my personal log in details.

Name (PRINT): ……………………………………..

Signature: ……………………………………………		Date: ………………………..

To be completed by the link trainer:

I have assessed the above named person and consider them competent in the assigned task.

Assessors Name (PRINT): ………………………………….

Assessors Signature: …………..……………………………	Date: …………………