| Title (Mr/Mrs/Miss/Dr etc.): | Surname: |  |
| --- | --- | --- |
| Position: |  |  |
| Forename(s): |  |  |
| Dept & Ward |  | Extension No: |

## Task:	POCT equipment training

Competency - attained when the trainee has the ability to perform the test/procedure unsupervised to a set standard on more than one occasion in a consistent manner, together with a working comprehension of the principles and concepts of the content of the key task.

Competency criteria include answers to documented competency questions and direct observation of performance of the task.

##### Criterion Evaluation - the criteria are approved by the appropriate Link Trainers.

Staff competency must be reassessed every two years.

| Questions | Answers | Observed / Competency criteria checked |
| --- | --- | --- |
| 1. Why would a one step pregnancy strip test be performed? |  |  |
| 2. Under what circumstances would a sample/ request be sent for analysis at the laboratory? |  |  |
| 3. How does the ‘One Step HCG Urine Pregnancy Test Strip work (only enough knowledge is needed to perform a test)? |  |  |
| 4. What are the limitations of the test? |  |  |
| 5. How do you obtain a sample and what is the sample collected into. How do you prepare the sample for analysis |  |  |
| 6. One Step Urine Pregnancy Test Strips - Where are they stored? Where are they disposed of when empty / expired? Where are further supplies obtained? |  |  |
| 7. Briefly describe how to perform AND interpret the test Where would you locate the SOP (procedure) for this test? |  |  |
| 8. Briefly describe how QC is run and recorded |  |  |
| 9. What is the external quality control procedure for this test? How often is it performed? How does the sampling of the EQA vary from patient samples? |  |  |
| 10. Describe the documentation procedure of patient’s results and any other relevant information pertaining to the strip. |  |  |

Is aware of the POCT Policy and Procedure, as appropriate to their role and grade

Both can be found on the RUH intranet:-

http://webserver/staff_resources/governance/policies/documents/clinical_policies/blue_clinical/Blue_772_Point_of_Care_Testing.pdf

and

http://webserver/clinical_directory/pathology/point_of_care_testing.asp

STANDARD OPERATING PROCEDURE SOP/POCT/42

Statement: I have completed the Criterion Evaluation and consider myself to be confident and competent in the assigned task.
Signature: ……………………………………………		Date:………………………..

Statement: I recognise the legal responsibilities of the tests that I undertake

Signature: ……………………………………………		Date:………………………..

To be completed by the Task Assessor

I have assessed ........................................................... and consider them to be competent in the assigned task.

Signature: …………………………………………….		Date: ………………………..

Keep this form in your portfolio when complete. Your line manager will require a copy.